## Signal
|  | Lot A |  | It would be nice to be able to see a line that fits four points the same way a line fits all 8 points | [29 empty] | Faluire Data
Lot B
|  | Lot C | [31 empty] | Plate Failed, controls did not pass specification
Lilian's plate
Date: |  |  | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-29 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10 | 2013-06-11 | 2013-06-12 | 2013-06-12 | 2013-06-12 | 2013-06-12 | 2013-06-12
Experiment Code: |  |  | 051413AVAT | 051413AVAT | 051413AVAT | 051513AVAT | 051513AVAT | 051513AVAT | 051613AVAT | 052013AVAT | 052013AVAT | 052013AVAT | 052313AVAT | 052313AVAT | 052313AVAT | 052313AVAT | 052313AVAT | 052313AVAT | 052913AVSW | 052913AVSW | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Aviir Abby Training Plate | Jumar Plate 1 | Jumar Plate 2 | Jumar Plate 3 | Gabi plate 1 | Gabi plate 2 | Gabi plate 3
Description: |  | X-Reactivity | Drift | Spike Recovery Plate 1 | Spike Recovery Plate 2 | Spike Recovery Plate 1 | Spike Recovery Plate 2 | Interference | Interference | Lot B Samples Plate 1 | Lot B Samples Plate 2 | Lot B Plate 3 | Lot A Plate 1 | Lot A Plate 2 | Lot A Plate 3 | Lot C Plate 1 | Lot C Plate 2 | Lot C Plate 3 | Intraassay Plate 1 | Intra assay Plate 2 | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | 32 Biorec samples
Technician: |  | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | AT | SW | SW | AT | AT | AT | AT | AT | AT | AT | JP | JP | JP | GK | GK | GK
Angiten Lot: |  | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 4Mar13 | 4Mar13 | 4Mar13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13 | 22APR13
Sample Diluent Lot: |  | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 24APR13 | 24APR13 | 24APR13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13 | 05Mar13
Detection Lot: |  | Unique | 13May13 | 13May13 | 13May13 | 13May13 | 13May13 | 13May13 | 13May13 | 12May13 | 12May13 | 12May13 | 22May13 | 22May13 | 22May13 | 20May13 | 20May13 | 20May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13 | 22May13
SHRP Lot: |  | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130503 | QNSN130503 | QNSN130503 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314 | QNSN130314
Substrate Lot: |  | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 456092 | 456092 | 456092 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659 | 455659
Plate Number: |  | AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042513B; AT: RESP13042513B; AT: RESP13042513B; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13042508A; AT: RESP13052008A; AT: RESP13052008A; AT: RESP13052008A; SW: RESP13042508A; SW: RESP13042508A |  | Typical Replicate Failure dAta
CTACK (spot 2) | Concentration, pg/ml | [33 empty] | Replicate 1 | Replicate 2
Bkg | 0 |  | 20.8333 | 21.25 | 22.6667 | 20.7778 | 60.6667 | 22 | 25.3333 | 21.5556 | 18.6667 | 24.2222 | 49.2222 | 20.7778 | 20.6667 | 23.4444 | 42.5556 | 20.6667 | 19.2222 | 42.6667 | 24.2222 | 24.5556 | 22.3333 | 24 | 26.6667 | 21 | 56.4444 | 53.5556 | 58.5556 | 62.2222 | 63.375 | 63.1111 | 56.4444
S1 | 1635 | 64539 | 62260.5 | 64236.5 | 63043.5 | 65535 | 60105.5 | 65123.5 | 65508.5 | 62434.5 | 63710.5 | 64474.5 | 64454 | 65535 | 65535 | 65535 | 63987 | 65535 | 60670.5 | 58222 | 64930.5 | 62112 | 65392 | 64968 | 64942 | 64530.5 | 62698.5 | 63289.5 | 62928.5 | 63332.5 | 62242 | 63700.5 | 61201 | 63042 | 65535 | 65535
S2 | 545 | 60388 | 55323.5 | 60358 | 60012.5 | 59513.5 | 55575 | 61517 | 60235.5 | 57033 | 59202.5 | 59267.5 | 61858.5 | 62465.5 | 62071.5 | 64462 | 62892 | 64785 | 59022 | 57206 | 61777.5 | 60939.5 | 61892 | 60791.5 | 62559 | 62640.5 | 58508.5 | 59628.5 | 56671.5 | 58968.5 | 57337.5 | 58425.5 | 58412.5 | 49965 | 60289 | 62118
S3 | 181.6667 | 39356 | 31742 | 39954 | 40991.5 | 36703 | 34088 | 43895.5 | 40590 | 34701 | 39830.5 | 38331.5 | 44793.5 | 44999 | 44346.5 | 50302 | 50804.5 | 51362 | 39311 | 38445.5 | 43263.5 | 42220 | 43555.5 | 40618.5 | 44837 | 46027.5 | 40432 | 40827.5 | 36394.5 | 41020.5 | 36136 | 37993 | 40239 | 26034 | 39916 | 42159
S4 | 60.5556 | 12640 | 10038.5 | 13051 | 13149.5 | 11461.5 | 10334 | 18465 | 14625.5 | 11734 | 14438 | 13037 | 17368.5 | 18188 | 18417.5 | 22933.5 | 25356 | 24425 | 13078 | 11831 | 15422.5 | 14009 | 16015 | 13479.5 | 16485 | 17874.5 | 12938 | 14189.5 | 11858 | 14819 | 10471 | 11589.5 | 12037.5 | 7038 | 13386 | 15329
S5 | 20.1852 | 2682 | 2125 | 2863 | 2951 | 2571.5 | 2507.5 | 5328.5 | 3986.5 | 2950 | 3385.5 | 3462.5 | 4734.5 | 4812 | 4864 | 6493.5 | 7484 | 7297.5 | 3529.5 | 2836.5 | 5250 | 3173.5 | 3947.5 | 3170.5 | 3915 | 4497.5 | 3559.5 | 3847 | 3163.5 | 4362.5 | 2413 | 2787 | 2687.5 | 1733 | 5923 | 5861
S6 | 6.7284 | 492 | 245.5 | 431.5 | 443.5 | 518 | 711 | 1183.5 | 888.5 | 799 | 463.5 | 1415.5 | 1079 | 918.5 | 717 | 1651 | 1558.5 | 1671 | 779 | 745.5 | 1079.5 | 396.5 | 674 | 429.5 | 537 | 674.5 | 767.5 | 920.5 | 679.5 | 828 | 293 | 384 | 434.5 | 237 | 1278 | 1127
S7 | 2.2428 | 45 | 64 | 31 | 38 | 176 | 194 | 239 | 154.5 | 135.5 | 98 | 118 | 166.5 | 122.5 | 46.5 | 152.5 | 276.5 | 394.5 | 104.5 | 230.5 | 276.5 | 56 | 96.5 | 86 | 76 | 89 | 249.5 | 222.5 | 179 | 207.5 | 63.5 | 108.5 | 102 | 87 | 208 | 2100
S8 | 0.7476 | 17 | 27 | 18 | 17.5 | 33 | 121 | 37 | 46 | 39 | 26.5 | 35.5 | 47 | 26 | 28 | 23.5 | 61.5 | 61 | 31 | 50 | 84.5 | 21 | 27.5 | 31.5 | 32 | 32 | 106 | 88.5 | 77.5 | 84 | 53 | 90 | 69.5 | 64 | 78 | 97
NL |  |  | 23326 | 24609 | 25484 | 23933 | 25484 | 26936 | 24267.5 | 24211 | 24023 | 25076 | 27894 | 30236 | 28286 | 32772.5 | 35295 | 38977.5 | 31078.5 | 32080.5 | 30614 | 29655.5 | 29701 | 29037.5 | 33056.5 | 32114.5 | 24867.5 | 26366.5 | 23721 | 25824.5 | 25368.5 | 26869 | 30177.5 | 23495
SLE |  |  | 34730 | 34724 | 35578.5 | 34647.5 | 35578.5 | 36855.5 | 36358 | 34859 | 34317.5 | 34737 | 40006.5 | 41956 | 40149 | 44999.5 | 45357 | 47806 | 41767 | 41777.5 | 40686.5 | 40647.5 | 40225 | 41566 | 42701.5 | 43336 | 30018.5 | 33294 | 31434 | 33483 | 32640.5 | 33175 | 35120.5 | 28590
RA |  |  | 38227 | 41577.5 | 41012.5 | 39065 | 41012.5 | 39616 | 39682 | 38028 | 39453.5 | 39152 | 43579 | 45492.5 | 44155 | 48029.5 | 48695 | 52161.5 | 45777.5 | 45445 | 44806.5 | 44445.5 | 44862.5 | 43915 | 45760.5 | 46300 | 37906 | 37773.5 | 36355.5 | 39369.5 | 37234.5 | 39714.5 | 43082.5 | 35988
CVD |  |  | 45456 | 43572.5 | 43836.5 | 44781.5 | 43836.5 | 46435.5 | 45740 | 45139.5 | 45330.5 | 44059 | 48653.5 | 50065.5 | 49910 | 53537 | 53692.5 | 55913 | 49807 | 50423 | 50055.5 | 50350 | 50495.5 | 49167.5 | 51472.5 | 52571 | 43972 | 43306.5 | 42529.5 | 43450 | 42710.5 | 45061.5 | 47180 | 41367
Eotaxin (spot 3) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 41423 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10
Date |  | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Training Plate at Aviir
Experiment |  | X-Reactivity | Drift | SpikeRecovery | SpikeRecovery | SpikeRecovery | SpikeRecovery | Interference | Interference | Lot B Samples | Lot B Samples | Lot B | Lot A | Lot A | Lot A | Lot C | Lot C | Lot C | Lot A | Lot A | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | Lot A
Operator | bar: AT to AT
Bkg | 0 |  | 22.9444 | 14.25 | 16.5556 | 24.5556 | 69.2222 | 17 | 21.2222 | 24 | 18.6667 | 20.5556 | 39.1111 | 21.6667 | 18 | 19.6667 | 45.2222 | 16.1111 | 20.3333 | 41.3333 | 22.7778 | 21 | 17.3333 | 20.7778 | 19.5556 | 16.1111 | 53.5556 | 51.5556 | 51.2222 | 54.6667 | 60 | 55.4444 | 61.3333
S1 | 1529 | 63964 | 62058 | 61678 | 61431.5 | 64186 | 58807 | 64206.5 | 63773 | 63773 | 62385.5 | 62844.5 | 64147.5 | 65535 | 65033 | 65522 | 63283.5 | 65535 | 61221.5 | 58717 | 63797 | 61964 | 64555.5 | 63606 | 63427 | 63131.5 | 62435 | 63200 | 62024 | 63094.5 | 61826.5 | 63324 | 62166 | 61994 | 43652 | 65535
S2 | 509.6667 | 55121 | 53663 | 56571 | 55536 | 54644.5 | 53099 | 59046 | 55768 | 54595.5 | 56042 | 56068.5 | 58687 | 60341 | 59388.5 | 60611 | 59813 | 60861.5 | 57535.5 | 56396 | 58656 | 58841.5 | 59368.5 | 57999.5 | 59433.5 | 59891.5 | 56527.5 | 57292.5 | 55307.5 | 56398 | 56224 | 57255 | 56998 | 51303 | 55338 | 59413
S3 | 169.8889 | 33602 | 33425 | 40333.5 | 37697 | 34951.5 | 34999 | 42716.5 | 37406 | 36748.5 | 38807 | 39650.5 | 41506.5 | 42936 | 40787 | 44125 | 45511 | 44108.5 | 40632.5 | 41212.5 | 42291 | 43400.5 | 41749 | 39108 | 41989.5 | 43978.5 | 39093 | 38708 | 37684.5 | 38458 | 37800.5 | 39329.5 | 39641.5 | 30526 | 38787 | 41254
S4 | 56.6296 | 11472 | 12121 | 16102 | 14651.5 | 12593 | 12217.5 | 19294 | 15088.5 | 13355 | 15586.5 | 16295.5 | 17223 | 19780 | 16919 | 19996 | 21576.5 | 19600.5 | 15790 | 16095 | 16986.5 | 17992.5 | 17380 | 15003 | 17480 | 19985 | 14982.5 | 15718 | 14979.5 | 15848 | 14007 | 15271.5 | 15687 | 11205 | 15088 | 17771
S5 | 18.8765 | 2653 | 3119.5 | 4597.5 | 3797 | 3259.5 | 3549 | 6256.5 | 4454 | 3531 | 4270 | 5174.5 | 5271.5 | 6279 | 5497 | 6379 | 6935.5 | 6133.5 | 4814.5 | 4746 | 5340 | 5251.5 | 5131.5 | 4384 | 5284.5 | 6338.5 | 4742 | 4833 | 4366.5 | 4753 | 3908 | 4524.5 | 4432 | 3084 | 7129 | 7168
S6 | 6.2922 | 532 | 479 | 986 | 718.5 | 506.5 | 837.5 | 1290 | 988.5 | 625 | 764 | 1157 | 1361.5 | 1635.5 | 1091 | 1657 | 1769 | 1357.5 | 1004 | 960 | 1341 | 1038.5 | 1146.5 | 906.5 | 1105 | 1443 | 1162 | 1249.5 | 992 | 966.5 | 733.5 | 974 | 923 | 738 | 1539 | 1722
S7 | 2.0974 | 23 | 40.5 | 94.5 | 53 | 76 | 203 | 112 | 106.5 | 67 | 80.5 | 120 | 180.5 | 162 | 131.5 | 199 | 250 | 129 | 118 | 153.5 | 175.5 | 117.5 | 119.5 | 84.5 | 77 | 148.5 | 179 | 248 | 188 | 236 | 158.5 | 169.5 | 157 | 175 | 286 | 272
S8 | 0.69913 | 11 | 24.5 | 25.5 | 29.5 | 32 | 130 | 29 | 37.5 | 25.5 | 20 | 35.5 | 58.5 | 50.5 | 36.5 | 47 | 62.5 | 35 | 21 | 39 | 67.5 | 17 | 36.5 | 30.5 | 45.5 | 43 | 81.5 | 78 | 84 | 95.5 | 75 | 74 | 71.5 | 59 | 93 | 96
NL |  |  | 1202 | 1330 | 1262.5 | 1192 | 1262.5 | 1473 | 1462.5 | 1252.5 | 1263 | 1486.5 | 2007 | 2056.5 | 2094.5 | 2032 | 2091.5 | 2433 | 2364.5 | 2852 | 2281 | 2033.5 | 2112.5 | 1879.5 | 2228 | 2366.5 | 2030 | 2098.5 | 1884.5 | 2138 | 2353.5 | 2248.5 | 2781 | 1896
SLE |  |  | 7253 | 7649 | 8222.5 | 6287.5 | 8222.5 | 6782 | 7247 | 7117.5 | 7335 | 6651 | 7528.5 | 10477.5 | 9735 | 10164.5 | 9497.5 | 11694.5 | 10068 | 10495 | 10308.5 | 9927.5 | 8384.5 | 9373.5 | 9499 | 10718.5 | 7875.5 | 8341 | 8705 | 9449.5 | 9642 | 8843.5 | 9829.5 | 7457
RA |  |  | 8084.5 | 10518.5 | 9234 | 7841.5 | 9234 | 7804 | 8532.5 | 8520 | 9063 | 8577.5 | 9628 | 12452.5 | 12199.5 | 11641.5 | 11401.5 | 13589 | 12173 | 13131.5 | 12744 | 12089 | 10970.5 | 10213.5 | 11857.5 | 12339 | 10268 | 9397.5 | 9357.5 | 10726 | 9775.5 | 10518 | 12653.5 | 10365
CVD |  |  | 13876.5 | 12924 | 12527 | 12441.5 | 12527 | 13454 | 13816.5 | 14242.5 | 14503.5 | 13202 | 16347.5 | 18956.5 | 19056.5 | 19449 | 18464 | 20545.5 | 19019 | 20796.5 | 19320.5 | 19130 | 18151.5 | 16798.5 | 19218.5 | 20673.5 | 15977 | 15347.5 | 15231.5 | 16524.5 | 15749.5 | 16981.5 | 19633 | 14037
sFAS (spot 4) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 41423 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10
Date |  | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Training Plate at Aviir
Experiment |  | X-Reactivity | Drift | SpikeRecovery | SpikeRecovery | SpikeRecovery | SpikeRecovery | Interference | Interference | Lot B Samples | Lot B Samples | Lot B | Lot A | Lot A | Lot A | Lot C | Lot C | Lot C | Lot A | Lot A | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | Lot A
Operator | bar: AT to AT
Bkg | 0 |  | 23.3889 | 26.875 | 17.3333 | 25.5556 | 68.1111 | 20.1111 | 22.6667 | 19.7778 | 19.2222 | 32.2222 | 52.4444 | 23.7778 | 21.5556 | 33.2222 | 53.2222 | 35.5556 | 28.4444 | 40.1111 | 24.1111 | 24.1111 | 22.4444 | 24 | 28.3333 | 27.5556 | 63.3333 | 72.6667 | 59.7778 | 59.4444 | 59.7256 | 66.1111 | 57.7778
S1 | 14686 | 63457 | 61514.5 | 62176.5 | 62060.5 | 62019.5 | 60460.5 | 62491.5 | 61512 | 61341 | 61907.5 | 62805.5 | 61174.5 | 62892.5 | 62902.5 | 65528.5 | 63724 | 65535 | 59547.5 | 58277.5 | 62646.5 | 61800.5 | 62741.5 | 61392 | 61960 | 62367 | 59229.5 | 59578.5 | 57363.5 | 58610 | 57789.5 | 60004 | 58902.5 | 58872 | 60860 | 60182
S2 | 4895.3333 | 62969 | 50303.5 | 52234.5 | 52274.5 | 49257 | 50135.5 | 54578 | 47865.5 | 54743.5 | 55055 | 55482 | 48462.5 | 52102.5 | 52025.5 | 63885 | 62084 | 64150.5 | 51576.5 | 49534 | 52641.5 | 52055 | 52044.5 | 51239.5 | 50962 | 52574.5 | 46897 | 45914 | 43902 | 44539 | 45320 | 47621 | 46016.5 | 46516 | 40019 | 43749
S3 | 1631.7778 | 59296 | 30988 | 33698 | 31749 | 30367.5 | 30862 | 38789 | 29592 | 38086.5 | 38506.5 | 39715.5 | 29293.5 | 33488.5 | 33361 | 53303 | 53032.5 | 55267.5 | 32293.5 | 29268.5 | 33422 | 32629.5 | 32768.5 | 31387.5 | 31263.5 | 33966.5 | 25861.5 | 25907 | 24153.5 | 24226 | 24908.5 | 27444 | 25451.5 | 25514 | 21356 | 23507
S4 | 543.9259 | 44252 | 12592 | 14755 | 13321 | 12279 | 12633 | 18930 | 12851 | 17362.5 | 18242.5 | 18987.5 | 11861 | 14638.5 | 14356 | 34644 | 33017 | 36697 | 13184 | 11505 | 13794.5 | 13795 | 13864.5 | 12717 | 12774.5 | 15444 | 9837 | 10296 | 9137.5 | 10235 | 9223.5 | 11056.5 | 9861 | 10166 | 8609 | 10182
S5 | 181.3086 | 23734 | 4221 | 4778 | 4123 | 4069 | 4180 | 7047.5 | 4265 | 5887.5 | 5924.5 | 6765.5 | 3819.5 | 5431.5 | 5430 | 16407 | 15719 | 15940.5 | 4086.5 | 3608.5 | 4696.5 | 4330 | 4564 | 4166 | 4442 | 5421.5 | 2897.5 | 3272 | 2653.5 | 3555 | 2682 | 3524 | 2906 | 3394 | 3609 | 3936
S6 | 60.4362 | 9193 | 1008.5 | 1296 | 861 | 874 | 1288 | 2074 | 1071 | 1430.5 | 1404 | 2049 | 954 | 1564.5 | 1114.5 | 6044.5 | 6616 | 5451 | 1024.5 | 830.5 | 1233.5 | 1097 | 1179 | 942 | 1164 | 1812.5 | 614.5 | 962.5 | 622.5 | 833 | 530.5 | 865.5 | 635.5 | 954 | 669 | 992
S7 | 20.1454 | 2413 | 152.5 | 208 | 133.5 | 104.5 | 270 | 386.5 | 168 | 208.5 | 225.5 | 420.5 | 248 | 278 | 145 | 1868.5 | 2066 | 1815 | 242.5 | 157.5 | 210.5 | 181.5 | 229 | 191 | 177 | 332 | 159 | 265 | 128.5 | 195 | 159 | 158.5 | 152 | 238 | 173 | 176
S8 | 6.7151 |  | 23 | 32.5 | 24.5 | 25 | 147.5 | 55 | 26.5 | 35.5 | 33.5 | 48.5 | 98 | 62.5 | 35.5 | 386.5 | 444 | 291.5 | 27 | 52 | 57 | 47 | 39.5 | 40.5 | 52.5 | 56.5 | 93 | 94 | 58.5 | 74.5 | 70.5 | 76.5 | 76 | 169 | 79 | 110
NL |  |  | 43439.5 | 43702 | 42161.5 | 41765 | 42161.5 | 44956 | 41014.5 | 40608.5 | 40612 | 42494 | 38700.5 | 41888.5 | 41125 | 60130.5 | 59492.5 | 61918 | 44074 | 43787.5 | 42852 | 43197 | 43684 | 43266.5 | 42986 | 42748 | 33929.5 | 33487.5 | 31502.5 | 33523.5 | 33000.5 | 36069.5 | 35471 | 36933
SLE |  |  | 46559.5 | 48049 | 46782 | 45882.5 | 46782 | 48600 | 45917.5 | 45689.5 | 45241 | 46323.5 | 44964.5 | 47065.5 | 46283 | 63451.5 | 62346.5 | 63739 | 48463 | 48050.5 | 47135.5 | 47353.5 | 47619 | 47344 | 47223 | 47070.5 | 39074.5 | 37369.5 | 36288 | 37974.5 | 37141.5 | 41060.5 | 39713.5 | 40159
RA |  |  | 38306.5 | 41751 | 41150.5 | 38083.5 | 41150.5 | 41089.5 | 37370.5 | 37970 | 37415 | 38694.5 | 36309.5 | 39007.5 | 39180 | 60566 | 58875 | 61428 | 41535.5 | 40788.5 | 39790 | 41214 | 41065.5 | 40683 | 40254 | 39581.5 | 31954 | 31163.5 | 29223.5 | 30463 | 28695.5 | 33365 | 32349 | 33247
CVD |  |  | 50205.5 | 50512 | 48856 | 49178 | 48856 | 51586 | 48291.5 | 48928.5 | 48824.5 | 49586 | 47944.5 | 49931 | 50466 | 63294 | 61569.5 | 64255.5 | 51179 | 51274 | 50366 | 50852 | 51510.5 | 50255 | 51429.5 | 51032.5 | 44434 | 43532.5 | 42573.5 | 44233 | 42743.5 | 46239.5 | 45221 | 45984
FAS-Ligand (spot 6) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 41423 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10
Date |  | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Training Plate at Aviir
Experiment |  | X-Reactivity | Drift | SpikeRecovery | SpikeRecovery | SpikeRecovery | SpikeRecovery | Interference | Interference | Lot B Samples | Lot B Samples | Lot B | Lot A | Lot A | Lot A | Lot C | Lot C | Lot C | Lot A | Lot A | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | Lot A
Operator | bar: AT to AT
Bkg | 0 |  | 19.7222 | 20.25 | 15.5556 | 23.3333 | 68.4444 | 17.3333 | 15.5556 | 16 | 24.1111 | 16.7778 | 40.6667 | 24 | 16.4444 | 15.1111 | 43.2222 | 17.5556 | 23.2222 | 44 | 26 | 22 | 19.6667 | 17.3333 | 23.2222 | 17.4444 | 61.1111 | 56.6667 | 55.4444 | 59.5556 | 45.3733 | 52.6667 | 47.6667
S1 | 2054 | 65054 | 63619 | 65298 | 63669.5 | 65535 | 62912.5 | 65506.5 | 65534.5 | 63542.5 | 64483.5 | 64624.5 | 64920.5 | 65535 | 65535 | 65535 | 64456.5 | 65535 | 60623.5 | 58904 | 65535 | 63070.5 | 65535 | 65535 | 65531 | 64683 | 63657.5 | 63549.5 | 63294.5 | 63490.5 | 61290 | 63557.5 | 61487.5 | 63808 | 65535 | 65535
S2 | 684.6667 | 61953 | 55680.5 | 57672.5 | 57237.5 | 56188.5 | 55270 | 60277 | 56398 | 56582 | 57021 | 56021.5 | 60570 | 61872.5 | 61356 | 61184 | 61553.5 | 61345 | 59385 | 57122 | 62374 | 61356 | 61752 | 61681 | 62019 | 62508 | 57065.5 | 57699 | 55864 | 56758.5 | 56682 | 58514.5 | 56797 | 55115 | 55496 | 58840
S3 | 228.2222 | 47172 | 37073.5 | 39221 | 38905.5 | 36587 | 36445.5 | 43373.5 | 37997 | 38536.5 | 39640 | 38329.5 | 44857 | 45757.5 | 45045 | 44768.5 | 46802 | 44730.5 | 44275.5 | 41648 | 46580 | 46003 | 45816.5 | 45068 | 46241 | 48308.5 | 40256 | 40696 | 38709 | 39405.5 | 39288.5 | 42450 | 40675 | 38645 | 38953 | 41074
S4 | 76.0741 | 26132 | 16579.5 | 18321.5 | 18056 | 16364 | 16130.5 | 23280 | 17779.5 | 17344.5 | 18048.5 | 17810 | 23291 | 25850.5 | 23926.5 | 23694 | 25758.5 | 23188 | 22323 | 19088 | 24532.5 | 24497.5 | 24466.5 | 23598 | 25365 | 27802.5 | 17931 | 19066.5 | 17416.5 | 18808.5 | 17148 | 20632.5 | 18230 | 18136 | 18143 | 20456
S5 | 25.358 | 10670 | 5734.5 | 6589 | 6542 | 5681 | 5611 | 9787 | 6681.5 | 5944 | 6272 | 6645.5 | 9590.5 | 10879 | 10140.5 | 9631.5 | 10648 | 9545 | 8771 | 6566 | 10482 | 9802.5 | 9996 | 9451 | 10809 | 11948 | 6271.5 | 7250.5 | 6245 | 7020 | 5920.5 | 7714 | 6223 | 6923 | 9268 | 9944
S6 | 8.4527 | 3197 | 1405.5 | 1611.5 | 1575.5 | 1556.5 | 1705.5 | 2985.5 | 1670.5 | 1415.5 | 1474.5 | 1929 | 2942.5 | 3378.5 | 2810 | 3057.5 | 3501 | 2628.5 | 2381.5 | 1682.5 | 3179 | 2770.5 | 2932.5 | 2746 | 3382.5 | 3823.5 | 1794 | 2376.5 | 1638.5 | 1974 | 1520 | 2135.5 | 1733 | 2034 | 2436 | 2720
S7 | 2.8176 | 592 | 125 | 138.5 | 125.5 | 122.5 | 344 | 483.5 | 201.5 | 124.5 | 133.5 | 217.5 | 665 | 612.5 | 333.5 | 477 | 795.5 | 503.5 | 314 | 270.5 | 594 | 341.5 | 501.5 | 535 | 687.5 | 789.5 | 363 | 735 | 341 | 363.5 | 269 | 410 | 312.5 | 487 | 445 | 588
S8 | 0.93919 |  | 21 | 40.5 | 34 | 29 | 101 | 116 | 48.5 | 17.5 | 33.5 | 49 | 135.5 | 116 | 36 | 100 | 131.5 | 72 | 40 | 42 | 118 | 64 | 92 | 106 | 137 | 149.5 | 98.5 | 157.5 | 88.5 | 83.5 | 64 | 102.5 | 77 | 135 | 122 | 142
NL |  |  | 9820 | 9995 | 9138 | 8770.5 | 9138 | 10923 | 10315 | 9005 | 9624 | 9499.5 | 13983.5 | 14649 | 12849.5 | 13438 | 15344 | 15260.5 | 14972.5 | 13668.5 | 16864 | 16406 | 16427 | 17124.5 | 17460 | 17761.5 | 9809 | 10166 | 8958.5 | 10594.5 | 9876.5 | 11773 | 11598 | 11362
SLE |  |  | 6007 | 6053 | 6064.5 | 5518.5 | 6064.5 | 6545.5 | 6145 | 4797 | 5261 | 5472 | 9503 | 9061 | 8162 | 8767 | 9333.5 | 10380.5 | 9626.5 | 8336.5 | 10688.5 | 10341.5 | 10520.5 | 10691 | 11605 | 12026 | 5814.5 | 6116.5 | 5085.5 | 5894.5 | 5579 | 7027.5 | 6435.5 | 6428
RA |  |  | 10801 | 11282.5 | 11989 | 10475.5 | 11989 | 11540.5 | 11054.5 | 10757 | 10225.5 | 10470.5 | 15944 | 16752 | 14215 | 15795.5 | 17455 | 18303.5 | 17343.5 | 15092 | 18262 | 17751.5 | 18495 | 19287 | 19407 | 18949 | 11071.5 | 12067 | 10332 | 12035.5 | 10568 | 13310.5 | 12852 | 12096
CVD |  |  | 11805 | 11197.5 | 10958 | 10985 | 10958 | 12554 | 11798.5 | 11624 | 11624.5 | 11079.5 | 17171.5 | 17234 | 17110 | 17344 | 18459.5 | 18291 | 17131 | 16625 | 19407 | 19520 | 19795.5 | 20121.5 | 21150.5 | 21319 | 12092 | 12219.5 | 11029 | 12707 | 11191.5 | 14153.5 | 13595.5 | 13121
HGF (spot 7) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 41423 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10
Date |  | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Training Plate at Aviir
Experiment |  | X-Reactivity | Drift | SpikeRecovery | SpikeRecovery | SpikeRecovery | SpikeRecovery | Interference | Interference | Lot B Samples | Lot B Samples | Lot B | Lot A | Lot A | Lot A | Lot C | Lot C | Lot C | Lot A | Lot A | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | Lot A
Operator | bar: AT to AT
Bkg | 0 |  | 22.2222 | 29.125 | 22.3333 | 25.7778 | 73.4444 | 27.4444 | 24 | 28.4444 | 22.1111 | 24.6667 | 48 | 24.3333 | 20.1111 | 27.5556 | 44.7778 | 29.7778 | 24.5556 | 45.7778 | 27.4444 | 23.2222 | 26.3333 | 29.5556 | 28.1111 | 24.6667 | 54.1111 | 53.2222 | 56.7778 | 53.6667 | 51.8889 | 57.2222 | 54.4444
S1 | 2820 | 63686 | 62211 | 62698.5 | 62353.5 | 62009.5 | 59626 | 63795.5 | 63319 | 60627.5 | 60915 | 63573 | 63382 | 65227 | 65252.5 | 64447 | 63037 | 65535 | 60715 | 58253 | 65045.5 | 62477 | 64074 | 63865.5 | 64220.5 | 63264 | 61054.5 | 62384.5 | 60546 | 61672 | 61734 | 63027 | 61779.5 | 61045 | 65535 | 65535
S2 | 940 | 56867 | 52647.5 | 51776.5 | 49894.5 | 46180 | 46535.5 | 55164.5 | 52031 | 50184 | 45822 | 56689.5 | 54696.5 | 58142 | 58642.5 | 56105 | 56394 | 60859.5 | 56548.5 | 53863 | 60095.5 | 59745 | 55384.5 | 57444 | 59476 | 58458 | 53992 | 53295.5 | 50273 | 53017.5 | 53460.5 | 55465.5 | 55047.5 | 48684 | 53587 | 57141
S3 | 313.3333 | 39130 | 34021.5 | 32015.5 | 29691.5 | 25407.5 | 25521 | 36892 | 32919 | 29691 | 24862 | 39649.5 | 36371.5 | 40654 | 40532.5 | 39085 | 41067.5 | 45110.5 | 39727.5 | 35608.5 | 42753.5 | 43325.5 | 36851 | 39357.5 | 42138 | 42255.5 | 36601.5 | 34658 | 31819.5 | 35265.5 | 34164.5 | 37357 | 36423.5 | 31632 | 35374 | 3165
S4 | 104.4444 | 17595 | 14586 | 13979 | 11855.5 | 9741.5 | 9271.5 | 17588.5 | 14364.5 | 12171 | 9874.5 | 18499.5 | 16610.5 | 19528.5 | 19000 | 18141 | 20298.5 | 24951.5 | 17603 | 14960.5 | 20890 | 21177 | 17011 | 17254.5 | 19570 | 20445 | 16321 | 15197.5 | 13442 | 16373 | 14190 | 16382.5 | 15237 | 13529 | 15045 | 17017
S5 | 34.8148 | 6503 | 4960 | 4386.5 | 3262.5 | 3090 | 3109 | 6243.5 | 4967.5 | 3643.5 | 2692 | 6657.5 | 5892.5 | 7545.5 | 7499 | 6686 | 7754 | 9916.5 | 6212.5 | 5012 | 7952 | 7777.5 | 5619.5 | 6212 | 7536 | 8032.5 | 5405.5 | 5582.5 | 4446.5 | 6137.5 | 4587 | 5431 | 4919 | 4696 | 7790 | 8027
S6 | 11.6049 | 1751 | 1155 | 1068 | 879.5 | 696 | 940.5 | 1824.5 | 1305.5 | 845 | 569.5 | 2168.5 | 1601 | 2420.5 | 1912 | 2076 | 2274 | 2929.5 | 1558 | 1181 | 2372 | 2193.5 | 1753 | 1669 | 2283.5 | 2556 | 1490.5 | 1619 | 1217 | 1648.5 | 1093.5 | 1450 | 1262.5 | 1209 | 1922 | 2107
S7 | 3.8683 | 182 | 101 | 115 | 77 | 69.5 | 197.5 | 261 | 209 | 75 | 69 | 296.5 | 349.5 | 443 | 193.5 | 395 | 469 | 596 | 268 | 247.5 | 482.5 | 320 | 269 | 337 | 345.5 | 448 | 323.5 | 450 | 236 | 315.5 | 230 | 305 | 245 | 251 | 380 | 423
S8 | 1.2894 |  | 14 | 40.5 | 21 | 23.5 | 157.5 | 34 | 46.5 | 33 | 27 | 37 | 102.5 | 59.5 | 36 | 98 | 113 | 79 | 23 | 47.5 | 59 | 48.5 | 50.5 | 54.5 | 92 | 67 | 101.5 | 106 | 91.5 | 134 | 73 | 98.5 | 69 | 106 | 118 | 149
NL |  |  | 6518 | 6588.5 | 6503.5 | 6031 | 6503.5 | 7395 | 4926 | 5447 | 6111.5 | 6212.5 | 8417 | 9884 | 9334 | 10094.5 | 10294 | 12137.5 | 10622 | 9578.5 | 10365.5 | 10542 | 10642.5 | 10451.5 | 11952.5 | 11049.5 | 7614 | 7910.5 | 6646.5 | 8060.5 | 7734.5 | 8464 | 8947 | 7848
SLE |  |  | 31430 | 32471.5 | 32184 | 31337.5 | 32184 | 31401.5 | 33270 | 29074 | 28724 | 31322.5 | 36249 | 42297 | 40170 | 43129.5 | 43268 | 45194.5 | 42466.5 | 40629 | 41124 | 41028 | 41900.5 | 41912.5 | 43480 | 42888 | 33414 | 32868 | 30282.5 | 33100.5 | 32362 | 36260 | 35077 | 32046
RA |  |  | 18863.5 | 20578 | 20606 | 18877 | 20606 | 18841 | 20033 | 17614 | 18147.5 | 19534 | 23868 | 28107.5 | 25686.5 | 28818 | 28573.5 | 32473 | 27963 | 26591 | 27053.5 | 28291.5 | 27921.5 | 28014.5 | 29434.5 | 28960 | 21115 | 21011.5 | 18823 | 21829.5 | 19353.5 | 23123 | 23196 | 21338
CVD |  |  | 21225 | 19184 | 19262.5 | 19607 | 19262.5 | 20717 | 21210.5 | 19580.5 | 19585.5 | 20525 | 26201.5 | 29751 | 28094.5 | 30825 | 30899 | 33295 | 29810 | 28688.5 | 28569.5 | 30007.5 | 31105 | 30350.5 | 32782.5 | 32490.5 | 22463 | 21423.5 | 21591.5 | 23859.5 | 22755.5 | 26174 | 26189 | 23929
IL-16 (spot 8) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 41423 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10
Date |  | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Training Plate at Aviir
Experiment |  | X-Reactivity | Drift | SpikeRecovery | SpikeRecovery | SpikeRecovery | SpikeRecovery | Interference | Interference | Lot B Samples | Lot B Samples | Lot B | Lot A | Lot A | Lot A | Lot C | Lot C | Lot C | Lot A | Lot A | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | Lot A
Operator | bar: AT to AT
Bkg | 0 |  | 24 | 23.125 | 18.2222 | 22.7778 | 60 | 24.3333 | 25 | 26.3333 | 20.3333 | 20.6667 | 56.3333 | 23.3333 | 17 | 22.7778 | 49.4444 | 23.7778 | 26.7778 | 54.6667 | 26.5556 | 20 | 23.3333 | 21.2222 | 31.2222 | 43.5556 | 60.1111 | 59 | 69 | 64.6667 | 68.5 | 65 | 64.5556
S1 | 6595 | 63450 | 63231 | 63971.5 | 63575 | 65250.5 | 61834.5 | 65258 | 63114.5 | 61932.5 | 63527.5 | 64064 | 64029 | 65535 | 65368.5 | 65535 | 62926.5 | 65534.5 | 60525.5 | 59593 | 65433.5 | 61931 | 65203.5 | 64823 | 64087.5 | 63026 | 63332.5 | 63311 | 63106 | 63555 | 62549 | 63626.5 | 62264 | 63885 | 65535 | 65535
S2 | 2198.3333 | 58617 | 55971.5 | 58711 | 57430.5 | 56104 | 54524.5 | 60826 | 54936 | 56377 | 56996.5 | 55812 | 53173.5 | 59843.5 | 58863.5 | 60724 | 56536 | 59551.5 | 56917 | 56726 | 59478 | 56582.5 | 58057 | 57811 | 57562 | 56956.5 | 58057.5 | 56784 | 56714 | 56387 | 56866 | 56373 | 57000.5 | 55278 | 57245 | 59489
S3 | 732.7778 | 37007 | 31929.5 | 36111.5 | 34307.5 | 32449.5 | 31716 | 42197 | 33782 | 34228.5 | 35320.5 | 33755 | 30230.5 | 39803.5 | 37709.5 | 41772 | 35960.5 | 38877 | 34437 | 37664 | 37644 | 33107 | 35275.5 | 34304 | 34744 | 32497.5 | 37209.5 | 34506 | 36075.5 | 34938 | 35889.5 | 34325 | 35944 | 31361 | 36551 | 39359
S4 | 244.2593 | 13649 | 11784 | 13027.5 | 12280.5 | 11700 | 10957 | 18671.5 | 13076 | 12679.5 | 13217 | 13299.5 | 11057.5 | 15737.5 | 14163.5 | 16851.5 | 14081.5 | 15226.5 | 12580.5 | 13635.5 | 13548 | 11704.5 | 12504.5 | 12895.5 | 13037.5 | 12711.5 | 14040 | 13576 | 14407.5 | 13415 | 13416 | 13194.5 | 13461 | 12153 | 14111 | 16200
S5 | 81.4198 | 3676 | 3162.5 | 3958.5 | 3501 | 3218 | 3308.5 | 6426 | 4099 | 3364.5 | 3458 | 4061.5 | 3545.5 | 5159.5 | 4563 | 5150.5 | 4356 | 4838 | 4177.5 | 3839.5 | 4367.5 | 3400.5 | 3851.5 | 3694 | 3959 | 4292 | 4510 | 4456 | 4639 | 4513 | 4097.5 | 4255 | 3974 | 4002 | 5526 | 6034
S6 | 27.1399 | 729 | 556 | 712.5 | 471.5 | 778 | 834.5 | 1796.5 | 905.5 | 723.5 | 605.5 | 923.5 | 959 | 1254.5 | 1061 | 1279 | 1137.5 | 951.5 | 818 | 881 | 1086.5 | 602.5 | 832 | 822 | 974.5 | 1074.5 | 1114.5 | 1228.5 | 1177.5 | 1057.5 | 1003.5 | 964 | 876 | 1024 | 1257 | 1417
S7 | 9.0466 | 46 | 77 | 68 | 38.5 | 85.5 | 203 | 206.5 | 116 | 65 | 63 | 180.5 | 229 | 177 | 105.5 | 157 | 189.5 | 97.5 | 98 | 220 | 144.5 | 73.5 | 98.5 | 147 | 125 | 142.5 | 260 | 312 | 244.5 | 215.5 | 171 | 175.5 | 208.5 | 171 | 252 | 316
S8 | 3.0155 |  | 27.5 | 34.5 | 17.5 | 27 | 108.5 | 29.5 | 43 | 20 | 13.5 | 61.5 | 91.5 | 30 | 30.5 | 21.5 | 65 | 31 | 47 | 55 | 60.5 | 25.5 | 24 | 51 | 33 | 26 | 82.5 | 94.5 | 108.5 | 95 | 70 | 80 | 111.5 | 119 | 66 | 120
NL |  |  | 1749 | 1915.5 | 1601.5 | 1796.5 | 1601.5 | 2090 | 2024 | 2729.5 | 2462 | 2438.5 | 1561.5 | 2552 | 2242 | 2551 | 1964 | 2687.5 | 2917 | 3508 | 2454.5 | 1724 | 2300 | 2256 | 2032.5 | 1737.5 | 3164.5 | 3170 | 3774.5 | 3311.5 | 3805.5 | 3188 | 3764 | 3474
SLE |  |  | 11249 | 11872.5 | 10068 | 10163 | 10068 | 11746 | 10755 | 14186 | 14393.5 | 11890.5 | 9046 | 12810.5 | 14127 | 15120.5 | 11833 | 15910.5 | 13421 | 14574 | 14201.5 | 11892 | 11981 | 14012.5 | 12337.5 | 11602 | 14729 | 12423.5 | 13430.5 | 12420 | 13090 | 12093 | 13758 | 12926
RA |  |  | 3184 | 3508 | 2797.5 | 3110 | 2797.5 | 3237 | 2918.5 | 4762.5 | 4394 | 3857.5 | 2853.5 | 4131 | 4457 | 4792 | 3730 | 4796 | 4419.5 | 5209 | 4199.5 | 3469.5 | 3564 | 3931 | 3832.5 | 2933 | 5404 | 5092.5 | 6053 | 5106.5 | 5441.5 | 4829 | 5666.5 | 5315
CVD |  |  | 7720 | 7793.5 | 6326.5 | 7460.5 | 6326.5 | 8042.5 | 8432 | 10990.5 | 10586.5 | 8375 | 5976 | 9727 | 10344 | 10604 | 7337 | 9570 | 9841.5 | 12250.5 | 9755.5 | 8415.5 | 8732.5 | 9213.5 | 9050 | 7164.5 | 11432 | 10833.5 | 12465.5 | 11287 | 11887 | 11514 | 12779.5 | 11166
MCP3 (spot 9) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16 | 2013-05-20 | 2013-05-20 | 2013-05-20 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 2013-05-23 | 41423 | 2013-05-29 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-05 | 2013-06-10
Date |  | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 1 | Plate 1 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 3 | Plate 1 | Plate 2 | Plate 1 | Plate 2 | Plate 3 | Plate 4 | Plate 5 | Plate 6 | Training Plate at Aviir
Experiment |  | X-Reactivity | Drift | SpikeRecovery | SpikeRecovery | SpikeRecovery | SpikeRecovery | Interference | Interference | Lot B Samples | Lot B Samples | Lot B | Lot A | Lot A | Lot A | Lot C | Lot C | Lot C | Lot A | Lot A | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | ADL Samples | Lot A
Operator | bar: AT to AT
Bkg | 0 |  | 23.7778 | 19.375 | 14.4444 | 22 | 69.6667 | 18.6667 | 25.1111 | 17.7778 | 22.5556 | 21.1111 | 44.1111 | 23.1111 | 21.6667 | 21.2222 | 48.2222 | 22 | 29.6667 | 47.2222 | 23.1111 | 25.4444 | 20.2222 | 19 | 25 | 22.7778 | 53.4444 | 56.1111 | 63.2222 | 57.1111 | 52.7333 | 64.1111 | 60.1111
S1 | 132 | 64969.5 | 61348 | 63402 | 62191.5 | 62620 | 60617.5 | 63825 | 62006.5 | 63988 | 63906 | 64711.5 | 64151.5 | 65535 | 65483.5 | 65012.5 | 63188.5 | 65213 | 61062.5 | 60192 | 64757.5 | 62975 | 65352.5 | 65192 | 64961 | 64210.5 | 62925 | 62705 | 62190.5 | 62513.5 | 61983.5 | 63063 | 61528.5 | 63177 | 65535 | 65535
S2 | 44 | 58731.5 | 46243.5 | 50920.5 | 49914.5 | 47170.5 | 48405.5 | 53769.5 | 47468.5 | 60433 | 61134.5 | 61378.5 | 55101 | 58090 | 58067.5 | 53649.5 | 53583 | 55309.5 | 56672.5 | 55215 | 59269.5 | 58312.5 | 58537.5 | 57557 | 57539.5 | 58533.5 | 52636 | 51977.5 | 50318 | 50665.5 | 51897 | 53305.5 | 52574.5 | 51407 | 48272 | 51946
S3 | 14.6667 | 42353.5 | 25684.5 | 30904.5 | 28996.5 | 26977 | 28168 | 35867 | 27558 | 45327.5 | 47431.5 | 47719 | 37808.5 | 40423 | 40662.5 | 35053.5 | 34421 | 36376 | 39563.5 | 37697 | 42021 | 41211.5 | 41522 | 39552.5 | 39917 | 41803.5 | 33909 | 32915.5 | 31603 | 31516.5 | 32927 | 34791 | 33679 | 31672 | 30879 | 33458
S4 | 4.8889 | 21030 | 9912 | 13080.5 | 12355.5 | 10941 | 11190.5 | 16965.5 | 11621.5 | 24949 | 26471.5 | 27730 | 17322.5 | 19473.5 | 19622 | 15620 | 15072 | 16312 | 17994 | 16474 | 19492.5 | 19218 | 19418.5 | 17734 | 18959.5 | 20544 | 14544 | 14622.5 | 13325 | 14048.5 | 13547 | 15612 | 14399 | 13891 | 13649 | 15661
S5 | 1.6296 | 8137.5 | 3020 | 4101 | 4011 | 3390 | 3568.5 | 6360 | 3532 | 9529.5 | 10430.5 | 11504 | 6524.5 | 7741.5 | 7938.5 | 5028 | 5077 | 5251 | 6773 | 5611 | 7719.5 | 6923 | 6973 | 6281 | 6950 | 8106 | 5063.5 | 5296 | 4573.5 | 5280 | 4227.5 | 5564 | 4610 | 4905 | 6098 | 6635
S6 | 0.54321 | 2217 | 531 | 978 | 813.5 | 696.5 | 977.5 | 1872.5 | 932 | 2704.5 | 2872.5 | 3837 | 1885 | 2287.5 | 2086.5 | 1349 | 1541.5 | 1424.5 | 1819.5 | 1378 | 2154.5 | 1890.5 | 1921.5 | 1746 | 1964 | 2388 | 1378.5 | 1609 | 1268.5 | 1316 | 1003 | 1455.5 | 1125.5 | 1391 | 1534 | 1590
S7 | 0.18107 | 332.5 | 54 | 83.5 | 70 | 90.5 | 213.5 | 322.5 | 109.5 | 417.5 | 514 | 775.5 | 377 | 425 | 231.5 | 189 | 252 | 153 | 285.5 | 289.5 | 471 | 273 | 312 | 254.5 | 282.5 | 452.5 | 329 | 402 | 270.5 | 243.5 | 198 | 293.5 | 252.5 | 221 | 81 | 441
S8 | 0.060357 | 20.5 | 26 | 43 | 37 | 25.5 | 109.5 | 67.5 | 44.5 | 31 | 97.5 | 114 | 119 | 86.5 | 26.5 | 41.5 | 71 | 43.5 | 25.5 | 43.5 | 65.5 | 78.5 | 65.5 | 71 | 54.5 | 123.5 | 96 | 137 | 87 | 90.5 | 82 | 92.5 | 75.5 | 144 | 60 | 128
NL |  |  | 23391.5 | 23966 | 22443 | 21960.5 | 22443 | 26006.5 | 23798 | 22195 | 22514.5 | 23258 | 30944 | 32140.5 | 31680.5 | 26616 | 27921.5 | 30213.5 | 35951 | 32847 | 34341 | 34424 | 34709.5 | 34554 | 35150 | 35494 | 25855 | 25639.5 | 23989 | 26244.5 | 26406 | 28913.5 | 28723 | 28032
SLE |  |  | 1508.5 | 1448.5 | 1267 | 1436 | 1267 | 1798.5 | 1590.5 | 1334 | 1246.5 | 1459 | 2674.5 | 2843 | 2673 | 1841.5 | 2066.5 | 2208.5 | 3305 | 2987 | 3033.5 | 2995 | 2881 | 3264.5 | 3227 | 3485 | 1570.5 | 1732 | 1721.5 | 2005.5 | 2053.5 | 2130 | 2229.5 | 1753
RA |  |  | 3154 | 3690.5 | 3487 | 3192 | 3487 | 3452.5 | 3085 | 2962.5 | 2868.5 | 2847 | 4527.5 | 5156.5 | 4737 | 3775.5 | 3921 | 4503.5 | 5899 | 5417 | 5568 | 5592.5 | 5634.5 | 5645 | 5999 | 5947 | 3256 | 3459 | 3310 | 3871 | 3575 | 4331 | 4657 | 3670
CVD |  |  | 1639 | 1590 | 1304.5 | 1601 | 1304.5 | 2065.5 | 1783 | 1512.5 | 1517 | 1473 | 2940 | 3120 | 3062 | 2217 | 2337.5 | 2394.5 | 3630.5 | 3220 | 3404 | 3387.5 | 3669 | 3563.5 | 3666 | 3808 | 1816 | 1723.5 | 1670.5 | 2112 | 2002.5 | 2531.5 | 2507 | 2023

## Sheet1
CTACK (spot 2) | Concentration, pg/ml
S1 | 1635 | 64539 | 62260.5 | 64236.5 | 63043.5 | 65535 | 60105.5 | 65123.5 | 65508.5
S2 | 545 | 60388 | 55323.5 | 60358 | 60012.5 | 59513.5 | 55575 | 61517 | 60235.5
S3 | 181.6667 | 39356 | 31742 | 39954 | 40991.5 | 36703 | 34088 | 43895.5 | 40590
S4 | 60.5556 | 12640 | 10038.5 | 13051 | 13149.5 | 11461.5 | 10334 | 18465 | 14625.5
S5 | 20.1852 | 2682 | 2125 | 2863 | 2951 | 2571.5 | 2507.5 | 5328.5 | 3986.5
S6 | 6.7284 | 492 | 245.5 | 431.5 | 443.5 | 518 | 711 | 1183.5 | 888.5
S7 | 2.2428 | 45 | 64 | 31 | 38 | 176 | 194 | 239 | 154.5
S8 | 0.7476 |  | 27 | 18 | 17.5 | 33 | 121 | 37 | 46
Eotaxin (spot 3) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16
S1 | 1529 | 63964 | 62058 | 61678 | 61431.5 | 64186 | 58807 | 64206.5 | 63773
S2 | 509.6667 | 55121 | 53663 | 56571 | 55536 | 54644.5 | 53099 | 59046 | 55768
S3 | 169.8889 | 33602 | 33425 | 40333.5 | 37697 | 34951.5 | 34999 | 42716.5 | 37406
S4 | 56.6296 | 11472 | 12121 | 16102 | 14651.5 | 12593 | 12217.5 | 19294 | 15088.5
S5 | 18.8765 | 2653 | 3119.5 | 4597.5 | 3797 | 3259.5 | 3549 | 6256.5 | 4454
S6 | 6.2922 | 532 | 479 | 986 | 718.5 | 506.5 | 837.5 | 1290 | 988.5
S7 | 2.0974 | 23 | 40.5 | 94.5 | 53 | 76 | 203 | 112 | 106.5
S8 | 0.69913 |  | 24.5 | 25.5 | 29.5 | 32 | 130 | 29 | 37.5
sFAS (spot 4) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16
S1 | 14686 | 63457 | 61514.5 | 62176.5 | 62060.5 | 62019.5 | 60460.5 | 62491.5 | 61512
S2 | 4895.3333 | 62969 | 50303.5 | 52234.5 | 52274.5 | 49257 | 50135.5 | 54578 | 47865.5
S3 | 1631.7778 | 59296 | 30988 | 33698 | 31749 | 30367.5 | 30862 | 38789 | 29592
S4 | 543.9259 | 44252 | 12592 | 14755 | 13321 | 12279 | 12633 | 18930 | 12851
S5 | 181.3086 | 23734 | 4221 | 4778 | 4123 | 4069 | 4180 | 7047.5 | 4265
S6 | 60.4362 | 9193 | 1008.5 | 1296 | 861 | 874 | 1288 | 2074 | 1071
S7 | 20.1454 | 2413 | 152.5 | 208 | 133.5 | 104.5 | 270 | 386.5 | 168
S8 | 6.7151 |  | 23 | 32.5 | 24.5 | 25 | 147.5 | 55 | 26.5
FAS-Ligand (spot 6) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16
S1 | 2054 | 65054 | 63619 | 65298 | 63669.5 | 65535 | 62912.5 | 65506.5 | 65534.5
S2 | 684.6667 | 61953 | 55680.5 | 57672.5 | 57237.5 | 56188.5 | 55270 | 60277 | 56398
S3 | 228.2222 | 47172 | 37073.5 | 39221 | 38905.5 | 36587 | 36445.5 | 43373.5 | 37997
S4 | 76.0741 | 26132 | 16579.5 | 18321.5 | 18056 | 16364 | 16130.5 | 23280 | 17779.5
S5 | 25.358 | 10670 | 5734.5 | 6589 | 6542 | 5681 | 5611 | 9787 | 6681.5
S6 | 8.4527 | 3197 | 1405.5 | 1611.5 | 1575.5 | 1556.5 | 1705.5 | 2985.5 | 1670.5
S7 | 2.8176 | 592 | 125 | 138.5 | 125.5 | 122.5 | 344 | 483.5 | 201.5
S8 | 0.93919 |  | 21 | 40.5 | 34 | 29 | 101 | 116 | 48.5
HGF (spot 7) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16
S1 | 2820 | 63686 | 62211 | 62698.5 | 62353.5 | 62009.5 | 59626 | 63795.5 | 63319
S2 | 940 | 56867 | 52647.5 | 51776.5 | 49894.5 | 46180 | 46535.5 | 55164.5 | 52031
S3 | 313.3333 | 39130 | 34021.5 | 32015.5 | 29691.5 | 25407.5 | 25521 | 36892 | 32919
S4 | 104.4444 | 17595 | 14586 | 13979 | 11855.5 | 9741.5 | 9271.5 | 17588.5 | 14364.5
S5 | 34.8148 | 6503 | 4960 | 4386.5 | 3262.5 | 3090 | 3109 | 6243.5 | 4967.5
S6 | 11.6049 | 1751 | 1155 | 1068 | 879.5 | 696 | 940.5 | 1824.5 | 1305.5
S7 | 3.8683 | 182 | 101 | 115 | 77 | 69.5 | 197.5 | 261 | 209
S8 | 1.2894 |  | 14 | 40.5 | 21 | 23.5 | 157.5 | 34 | 46.5
IL-16 (spot 8) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16
S1 | 6595 | 63450 | 63231 | 63971.5 | 63575 | 65250.5 | 61834.5 | 65258 | 63114.5
S2 | 2198.3333 | 58617 | 55971.5 | 58711 | 57430.5 | 56104 | 54524.5 | 60826 | 54936
S3 | 732.7778 | 37007 | 31929.5 | 36111.5 | 34307.5 | 32449.5 | 31716 | 42197 | 33782
S4 | 244.2593 | 13649 | 11784 | 13027.5 | 12280.5 | 11700 | 10957 | 18671.5 | 13076
S5 | 81.4198 | 3676 | 3162.5 | 3958.5 | 3501 | 3218 | 3308.5 | 6426 | 4099
S6 | 27.1399 | 729 | 556 | 712.5 | 471.5 | 778 | 834.5 | 1796.5 | 905.5
S7 | 9.0466 | 46 | 77 | 68 | 38.5 | 85.5 | 203 | 206.5 | 116
S8 | 3.0155 |  | 27.5 | 34.5 | 17.5 | 27 | 108.5 | 29.5 | 43
MCP3 (spot 9) |  | 2013-05-13 | 2013-05-14 | 2013-05-14 | 2013-05-14 | 2013-05-15 | 2013-05-15 | 2013-05-15 | 2013-05-16
S1 | 132 | 64969.5 | 61348 | 63402 | 62191.5 | 62620 | 60617.5 | 63825 | 62006.5
S2 | 44 | 58731.5 | 46243.5 | 50920.5 | 49914.5 | 47170.5 | 48405.5 | 53769.5 | 47468.5
S3 | 14.6667 | 42353.5 | 25684.5 | 30904.5 | 28996.5 | 26977 | 28168 | 35867 | 27558
S4 | 4.8889 | 21030 | 9912 | 13080.5 | 12355.5 | 10941 | 11190.5 | 16965.5 | 11621.5
S5 | 1.6296 | 8137.5 | 3020 | 4101 | 4011 | 3390 | 3568.5 | 6360 | 3532
S6 | 0.54321 | 2217 | 531 | 978 | 813.5 | 696.5 | 977.5 | 1872.5 | 932
S7 | 0.18107 | 332.5 | 54 | 83.5 | 70 | 90.5 | 213.5 | 322.5 | 109.5
S8 | 0.060357 | 20.5 | 26 | 43 | 37 | 25.5 | 109.5 | 67.5 | 44.5